## 中控
聚酯中控考核积分表（2026年9月） |  |  |  |  | 2026-09-01 |  | 2026-09-02 |  | 2026-09-03 |  | 2026-09-04 |  | 2026-09-05 |  | 2026-09-06 |  | 2026-09-07 |  | 2026-09-08 |  | 2026-09-09 |  | 2026-09-10 |  | 2026-09-11 |  | 2026-09-12 |  | 2026-09-13 |  | 2026-09-14 |  | 2026-09-15 |  | 2026-09-16 |  | 2026-09-17 |  | 2026-09-18 |  | 2026-09-19 |  | 2026-09-20 |  | 2026-09-21 |  | 2026-09-22 |  | 2026-09-23 |  | 2026-09-24 |  | 2026-09-25 |  | 2026-09-26 |  | 2026-09-27 |  | 2026-09-28 |  | 2026-09-29 |  | 2026-09-30
序号 | 位号 | 考核范围 | 单位 | 考核分值与标准 | 丙 | 甲 | 乙 | 丙 | 甲 | 乙 | 丙 | 甲 | 乙 | 丙 | 甲 | 乙 | 丙 | 甲 | 乙 | 丙 | 甲 | 乙 | 丙 | 甲 | 乙 | 丙 | 甲 | 乙 | 丙 | 甲 | 乙 | 丙 | 甲 | 乙 | 丙 | 甲 | 乙 | 丙 | 甲 | 乙 | 丙 | 甲 | 乙 | 丙 | 甲 | 乙 | 丙 | 甲 | 乙 | 丙 | 甲 | 乙 | 丙 | 甲 | 乙 | 丙 | 甲 | 乙 | 丙 | 甲 | 乙 | 丙 | 甲 | 乙
0 | 当班是否考核 |  |  |  | 是 | 是 | 是 | 是 | 是
1 | LICA-012019 | 71～73 | % | 超限>5分钟扣3分/次
2 | LIC-013107 | 30～75 | % | 超限>5分钟扣3分/次
3 | LIC-017149 | 36～44 | % | 超限>5分钟扣3分/次
4 | LIC-117016 | 38.5～39.5 | % | 超限>5分钟扣2分/次 |  |  | -2
5 | LIC-217016 | 38.5～39.5 | % | 超限>5分钟扣2分/次 |  | -6 | -6
6 | TIC-013060 | 110～125 | ℃ | 超限>30分钟扣2分/次
7 | LIC-013065 | 62～68 | % | 超限>10分钟扣2分/次
8 | TIC-012022 | 288.3～289.7 | ℃ | 超限>10分钟扣1分/次
9 | TIC-015009 | 289.3～290.7 | ℃ | 超限>10分钟扣1分/次
10 | TIC-117117 | 297.3～298.7 | ℃ | 超限>10分钟扣1分/次
11 | TIC-217117 | 297.3～298.7 | ℃ | 超限>10分钟扣1分/次
12 | TIC-117001 | 280.3～281.7 | ℃ | 超限>10分钟扣1分/次
13 | TIC-217001 | 280.3～281.7 | ℃ | 超限>10分钟扣1分/次
14 | TIA-023052 | 110～140 | ℃ | 超限>1小时扣1分/次
15 | TI-011003 | 90～100 | ℃ | 超限>10分钟扣3分/次 | -12 |  | -21 | -12 | -9
16 | VIT-118020 | 0.641～0.643 | dl/g | 超限>5分钟扣3分/次 |  |  | -6 |  | -3
17 | EU-II-217R011 | 82.5～85.5 | % | 超限>5分钟扣2分/次
18 | EU-II-117R011 | 81.5～84.5 | % | 超限>5分钟扣2分/次
19 | WIC-011006 | 69.4～69.6 | % | 超限>5分钟扣2分/次
20 | LIC-011007 | 83～85 | % | 超限>5分钟扣2分/次
21 | PI-2311001 | 15.95～16.25 | MPa | 超限>10分钟扣2分/次 | -2 |  | -2 | -2 | -6
22 | SLURRY_FLOW_BALANCE | -15～15 | 偏差 | 偏差超限>5分钟扣2分/次 | -24 | -46 | -46 |  | -56
23 | LICA-012019 | -0.14～0.14 | %/h | 速率超限>2小时扣2分/次
24 | LA-115077 | 0（高报=1） | 状态 | 高报>5分钟扣1分/次
25 | LA-115177 | 0（高报=1） | 状态 | 高报>5分钟扣1分/次
26 | LA-117075 | 0（高报=1） | 状态 | 高报>5分钟扣1分/次
27 | LA-215077 | 0（高报=1） | 状态 | 高报>5分钟扣1分/次
28 | LA-215177 | 0（高报=1） | 状态 | 高报>5分钟扣1分/次
29 | LA-217075 | 0（高报=1） | 状态 | 高报>5分钟扣1分/次 | -1
30 | 117P01 | 正常≥125, 切泵≥100 | t/h | 低流量扣1分，切泵超时>10分扣2分
31 | 115P05 | 正常≥110, 切泵≥100 | t/h | 低流量扣1分，切泵超时>10分扣2分
32 | 115P03 | 正常≥110, 切泵≥100 | t/h | 低流量扣1分，切泵超时>10分扣2分
33 | 217P01 | 正常≥110, 切泵≥100 | t/h | 低流量扣1分，切泵超时>10分扣2分
34 | 215P05 | 正常≥110, 切泵≥100 | t/h | 低流量扣1分，切泵超时>10分扣2分
35 | 215P03 | 正常≥110, 切泵≥100 | t/h | 低流量扣1分，切泵超时>10分扣2分
中控合计：
现场合计：
中控 | 班次数 | 总分 | 平均分
甲
乙
丙
现场 | 班次数 | 总分 | 平均分
甲
乙
丙

## 映射 (hidden)
序号 | rule_id | point_id | 主表行号 | 归属 | 生效日期 | 停用日期
1 | analog_limit_exceedance | LICA-012019 | 4 | control
2 | analog_limit_exceedance | LIC-013107 | 5 | control
3 | analog_limit_exceedance | LIC-017149 | 6 | control
4 | analog_limit_exceedance | LIC-117016 | 7 | control
5 | analog_limit_exceedance | LIC-217016 | 8 | control
6 | analog_limit_exceedance | TIC-013060 | 9 | control
7 | analog_limit_exceedance | LIC-013065 | 10 | control
8 | analog_limit_exceedance | TIC-012022 | 11 | shared
9 | analog_limit_exceedance | TIC-015009 | 12 | shared
10 | analog_limit_exceedance | TIC-117117 | 13 | shared
11 | analog_limit_exceedance | TIC-217117 | 14 | shared
12 | analog_limit_exceedance | TIC-117001 | 15 | shared
13 | analog_limit_exceedance | TIC-217001 | 16 | shared
14 | analog_limit_exceedance | TIA-023052 | 17 | control
15 | analog_limit_exceedance | TI-011003 | 18 | control
16 | analog_limit_exceedance | VIT-118020 | 19 | control
17 | analog_limit_exceedance | EU-II-217R011 | 20 | control
18 | analog_limit_exceedance | EU-II-117R011 | 21 | control
19 | analog_limit_exceedance | WIC-011006 | 22 | control
20 | analog_limit_exceedance | LIC-011007 | 23 | control
21 | component_viscosity_control | PI-2311001 | 24 | control
22 | flow_balance_compliance | SLURRY_FLOW_BALANCE | 25 | control
23 | level_rate_compliance | LICA-012019 | 26 | control
24 | persistent_high_alarm | LA-115077 | 27 | field
25 | persistent_high_alarm | LA-115177 | 28 | field
26 | persistent_high_alarm | LA-117075 | 29 | field
27 | persistent_high_alarm | LA-215077 | 30 | field
28 | persistent_high_alarm | LA-215177 | 31 | field
29 | persistent_high_alarm | LA-217075 | 32 | field
30 | pump_flow_compliance | 117P01 | 33 | field
31 | pump_flow_compliance | 115P05 | 34 | field
32 | pump_flow_compliance | 115P03 | 35 | field
33 | pump_flow_compliance | 217P01 | 36 | field
34 | pump_flow_compliance | 215P05 | 37 | field
35 | pump_flow_compliance | 215P03 | 38 | field